|  |  |  | Vac pressures (mbar) |  | Inlet systems |  | Zoom |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date | Isotope | Signal | High | Fore | Getter | Cones | Sam. Gas | X-pos | Y-pos | Z-pos | RF power | Focus Quad | Temp. |
| 17.1.11 | Fe | 1.5ppm 15V | 1.29*10-7 | 2.36*10-3 | 1.20*10-9 | H+Jet |  |  |  |  |  |  | 22℃ |